Testbeam Analysis

1. First alignment with tele:
  make tele
  ./tele -l #events (40k for beginning) run# ->creates hot.dat
  ./tele -l 90000 run#
  Iterate after looking at the control plots (if needed).
2. Second running scope53m:
   make scope53m
  ./scope53m -l #events run#
  alignMOD_36020.dat
  alignDUT_36020.dat
  scopeRD36020.root Files created.
  Open scopeRD... in root,
  run command: .x hot.C+("map8",100) (placing a cut at 100 by checking in file freq and frel)
  The values of the terminal of the format pix # # # copy and paste in a file “hotDUT_36020.dat”. This file is used as hot pixel masking while running scope53m again.
  (Iterate several (5) times till the rotation correction reduces to close to 0)